County of Yuba
Certified Unified Program Agency
915 8th Street, Suite 123, Marysville, CA 95901 


(530) 749-5450
Site and Facility Map Requirements

Site Map
A site map is considered a general overview of a facility location in relationship to surrounding land uses.  The site map should show the following:

Site orientation (North, South, East, West)

Building locations with loading areas
Internal, external, and adjacent streets, roads, and drives

Entry and exit points

Adjacent buildings and/or land uses

Drainage ditches

Facility Map

A facility map is a map that specifically addresses the buildings at a given facility and the identification and location of various items within the buildings. The facility map should include the following:

All hazardous materials and hazardous waste storage:

storage locations 

type of storage, i.e. underground or aboveground tanks, drums, cylinders, etc.

identity of hazardous materials present

Emergency exits

Fire extinguishers and water sources

Utility shut off switches

Sewer and storm drains

Evacuation and assembly areas

Emergency response equipment, i.e. absorbents, spill supplies, shovels, gloves, etc.

UST  Requirements
Include the following on your facility map is you have underground storage tanks:

Location of all monitoring equipment, i.e., leak detectors, sensors, monitoring consoles

Show id numbers for sensors, etc. that correspond to id numbers on tape printout (if applicable)

Location of piping sumps and dispensers

Location of emergency shut-off valves

Location of spill containers









CUPA19








